# Action Plan for Emergency Drought Management

Short-Term Strategy For The Community of:

#### Acknowledgements

This guide is the result of collaborative effort between Rural Community Assistance Corporation (RCAC) and New Mexico Environment Department Drinking Water Bureau (NMEDDWB).

It is intended for drinking water systems serving fewer than 3,300 people. Its purpose is to help small water systems assess a drought situation and take immediate actions to mitigate its impact on the community.

Table of Contents

### Part 1. Historical Data.

Information about the community and how the water system reacted to the last known/felt drought conditions, economically how is the community impacted during a drought or dry periods.

Part 2. Water Supply System Profile

Describes infrastructure components and the condition of the infrastructure, including size, pumping capacity, limitations on production, treatment, storage and distribution of water.

Part 3. Community Profile/ Water Demand

Describes the water demand needs: how many customers, customer classes, who are the large water users, the per capita consumption, water billed versus pumped, peak demand.

Part 4. Criteria to Define Drought Situation, Actions to be Taken and Response

Part 5.  Plan Implementation and Termination Procedures

Part 6. References

### Historical Data

This information is useful for understanding how your community responds to, and is impacted by drought conditions, and to build on experience.

This is our community, our culture, our economy, our values,

The last time we survived a drought was in:

This is what we did:

### Water System Profile

This information is useful to:

- Compare water supply under normal circumstances and present conditions

- Learn how much water enters the system

- Seek funding for system improvements. Funding agencies, including emergency funding programs, may ask for this information

- Get a better response and understanding from the community. Water users need to perceive or know that the situation is critical

Water Supply:  Surface Water

We get our water from a stream (s), spring (s), river

How many

1. Name

Serving the community drinking water needs since:

Flow Rate under normal conditions:

How is the water treated for drinking purposes:

Treatment Capacity:

Storage Tank Capacity:

Location:

2. Name

Serving the community drinking water needs since:

Flow Rate under normal conditions:

How is the water treated for drinking purpose:

Treatment Capacity:

Storage Tank Capacity:

Location:

Water Supply:  Groundwater

We get our water from a groundwater well (s), how many

Well # 					Age:

Depth:					Pump depth and age:

Treatment:				  Storage tank capacity:

Location:

Well # 					Age:

Depth:					Pump depth and age:

Treatment:				Storage tank capacity:

Location:

Well # 					Age:

Depth:					Pump depth and age:

Treatment:				Storage tank capacity:

Location:

Well # 					Age:

Depth:					Pump depth and age:

Treatment:				Storage tank capacity:

Location:

Well # 					Age:

Depth:					Pump depth and age:

Treatment:				Storage tank capacity:

Location:

Distribution system

Flushing Hydrants (#): 			Fire Hydrants (#):

Water Lines: how old, leaks, breakage, loop system (yes, no), meters (describe):

### Community Profile

### Forecast Demand

This information is useful to:

- Compare available water supply with demand

- Learn how much water leaves the system

- Seek funding for system improvements. Funding agencies, including emergency funding programs may ask for this information

- Get a better response and understanding from the community. Water users need to perceive or know that the situation is critical

System Water Demand:

Population:				 (estimate if necessary)

*Number of Connections:

Residential:

Commercial:

Restaurants:

Laundromats:

Car washes:

Other:

Institutions:

Hospital (s):					School (s)

Jail/detention center:			Cemetery (s)

Park (s)					Other:

Industrial:

Agriculture/ Farms:

*Non-metered

Table 1. Monthly & Annual Water Supply & Demand Data Before Drought Conditions (in Gallons)

| Month & Year | Surface Water | Groundwater | Total Gallons | Total Gallons Billed |
| --- | --- | --- | --- | --- |
| January |  |  |  |  |
| February |  |  |  |  |
| March |  |  |  |  |
| April |  |  |  |  |
| May |  |  |  |  |
| June |  |  |  |  |
| July |  |  |  |  |
| August |  |  |  |  |
| September |  |  |  |  |
| October |  |  |  |  |
| November |  |  |  |  |
| December |  |  |  |  |
| Total |  |  |  |  |

Table 2. Monthly & Annual Water Supply & Demand Data During Drought Conditions (in Gallons)

| Month & Year | Surface Water | Groundwater | Total Gallons | Total Gallons Billed |
| --- | --- | --- | --- | --- |
| January |  |  |  |  |
| February |  |  |  |  |
| March |  |  |  |  |
| April |  |  |  |  |
| May |  |  |  |  |
| June |  |  |  |  |
| July |  |  |  |  |
| August |  |  |  |  |
| September |  |  |  |  |
| October |  |  |  |  |
| November |  |  |  |  |
| December |  |  |  |  |
| Total |  |  |  |  |

Other information needed:

- System Safe Yield (the amount of water which can be annually withdrawn without depleting the source): 									 Leave it blank if you do not know.

- Peak demand period (time of day and/or seasonal peak)

- What percentage of the system is metered:						.

- Per capita use 						 gallons (divide the total water produced from Table 1 by the population)

Please add the following information on separate sheet(s):

- Large (high volume) water users and their existing use (as of last month and if possible past year)

- Current water rate structure

- Annual Revenue and Expenses, for the last two years if available or at least one year

- Total Cost to run the utility if you were going to pay for all services, including volunteer hours and keep some money in reserve accounts for maintenance and replacement

Criteria to Define Drought Situation, Actions to Be Taken and Response

Any drought situation requires an immediate response. This plan concentrates on the short-term actions to be taken. However, the water system reserves the right to keep those actions in place on an ongoing basis if necessary.

Drought conditions will be defined as follows:

- Normal

- Drought Alert		Stage I

- Conservation Stages	Stage II

- Restrictions Stage		Stage III

- Emergency Situation	Stage IV

This Plan includes the following responses:

- Demand Reduction

- Impact Minimization

- Combination of the two

#### Table 3. Identifying Drought Conditions and Actions to Be Taken.

| Normal Conditions | Stage I Drought Alert | Stage II Conservation | Stage III Restrictions | Stage IV Emergency |
| --- | --- | --- | --- | --- |
| Water supply is adequate, water quality is acceptable under normal management | Lower than normal precipitation, declining stream flows, reservoir levels, and ground water levels; greater than normal demand | Water supply deteriorating, water quality deteriorating | Continued decline in water supply and/or in water quality | Severe water supply problems due to limited resource availability |
| Actions to Be Taken: Develop local drought management plan Adapt stand by drought conditions rate schedule Develop stand by resolutions, ordinances and code Maintain funding source list, emergency and non-emergency Keep records and know distribution system layout and number of connections Develop additional or alternative supply, storage and treatment facilities; evaluate distribution system, interconnection with other systems, metering Purchase standby equipment Develop conservation education/program Implement an increasing block rate schedule, the more you use the more you pay – avoid mining groundwater - Complete routine leak survey Keep records of water produced versus water sold – water accountability | Actions to Be Taken: Monitor water sources and daily use for each specific purpose (residential, commercial) Anticipate demand Monitor water quality Alert decision makers of the results Initiate community awareness and call for voluntary conservation Monitor Revenue and expenses Leak survey/repairs | Actions to Be Taken: Monitor plan implementation Implement conservation goal –either voluntary or mandatory outside restrictions Monitor cutbacks in use and revenue – be prepared to raise rates – impose surcharges, impose penalties If conservation goal is not met go to next phase- restrictions – prepare ordinances and compliance requirements - penalties | Actions to Be Taken: Implement restrictions/bans Correct system leaks Notify the primacy agency at (phone number) Start search for emergency funding Monitor users having problems following restrictions Further prioritize use of water | Actions to Be Taken: Initiate hauling water Notify primacy agency at (phone number) Request emergency funds If needed and possible, file an emergency water rights application with the appropriate state agency |

Plan Implementation

##### Short Term Strategy For Drought Management

The water system will implement the following strategies

Supply Management:

- Leak detection and repair

- Pressure reduction

- Metering all customers

- Develop a new source – temporary or long term

- Reduce flushing of water mains

- Reduce irrigation of public areas

Demand Management:

- Public education and information

- Make available water conservation information provided by the local primacy agency or other state and/or county agencies

- Send information with customer bill

- Water conservation program: See Table 3

- Violations of the water conservation program will be as stipulated in the resolution adopting a water conservation program, restrictions and bans

- A increased block rate structure or a drought surcharge will support a water conservation program

- Pricing:

- Implement a new water rate structure that meets the reduction goals. Although the water consumption will be reduced, the cost of providing water service remains the same, thus in order to meet the water system budget, the rates must be increased, or….

- A drought surcharge must be implemented

Public Education and Information

Correcting Leaks

Thousands of gallons of water are lost each day through leaking faucets and toilets.

- Correct faucet leaks (see flyer attached)

- Correct toilet leaks. One of the most wasteful household devices is the toilet:

The national average water usage for toilet flushing is 100 gallons a day for standard toilets.  Standard toilets use 7 gallons for bowl cleansing every time a person uses it.

Reduce toilet water usage by placing a plastic (unbreakable) bottle filled with water or sand (so that it will not float) inside toilet storage tanks. Do not do this for low flow toilets. They already use a third of the water that traditional toilets use.

Check for toilet leaks by placing a few drops of food coloring into the tank and observing whether the water in the bowl turns color without flushing. Silent toilet bowl leaks are the cause of about 95 percent of the complaints on excessive water use charges. (Utah Water Research Laboratory, Water Resources Series Report P-78-002)

3. For other savings methods see materials attached

Table 4.  Demand Reduction Response - Water Conservation

| Voluntary Conservation Stage I and Normal conditions | Mandatory Conservation Stage II | Restrictions Stage III | Emergency Stage IV |
| --- | --- | --- | --- |
| Voluntary Cutbacks: Limit outside use to before 10 AM and after 6 PM Reduce indoor usage – see materials available Encourage not serving water in restaurants unless requested Encourage hotels and Bed and Breakfast to not change linens daily | Mandatory Cutbacks: The goal for average water use per capita should be ________ gallons. Ban on serving water in restaurants unless requested Encourage hotels and Bed and Breakfast to not change linens daily Ban on sprinklers Restrict outside watering to one day per week: Prohibition on washing paved areas Prohibition on letting water run into the street Prohibition on filling out swimming pools and water fountains Ban on car washing, except for solid waste vehicles for public health reasons | Mandatory Restrictions: Rationing. The goal for average water use per capita should be ________ gallons. Prohibition on new connections –Moratorium on new hookups Ban on use of water for air-conditioning Ban on use of water hoses Prohibition of all outdoor water use Ban on new landscaping with water from the utility | Rationing: In addition to all of the previous measures, Restriction on water uses other than residential domestic use. All residential customers are required to reduce consumption by ____percentage All commercial customers are required to reduce consumption by ____percentage All institutional and industrial customers are required to reduce consumption by ____percentage |

###### Initiation and Termination Procedures

All decisions to implement this plan, to move from one stage to another, and to terminate actions taken because of the drought conditions will be made through a resolution of the decisions makers, with or without input from the community.

An ordinance may have attachments stating either a new rate schedule, surcharges, and penalty for violation of the ordinance.

REFERENCES

Grigg, N. S., E. C. Vlachos. 1990. Drought Water Management. Proceedings of a

National Workshop held in Washington, D. C. November 1-2, 1988. Colorado

State University.

Wilhite, Donald. 1997. Improving Drought Management in the West. Report to the

Western Water Policy Review Advisory Commission. National Drought

Mitigation Center. University of Nebraska.

Howe, C. W., P. K. Alexander, J. A. Goldberg, S. Sertner, H. P. Studer. 1980. Drought-

Induced Problems and Responses of Small Towns and Rural Water Entities in

Colorado: The 1976-1978 Drought. Colorado Water Resources Research Institute.

Fort Collins, Colorado.

Baumann, D. D., J.J. Boland, B. Dziegielewski. 1983. Evaluation of Drought

Management Measures for Municipal and Industrial Water Supply.  Report

prepared for the U. S. Army Engineer Institute for Water Resources. Fort Belvoir,

Virginia.

Andrews, W. H., L. D. James. 1978. Water Conservation Information Dissemination

During the 1977 Drought Emergency. Utah State University. Water Resources

Planning Series. Logan, Utah.

New England River Basins Commission. 1980. Before the Well Runs Dry. A handbook

for designing a local water conservation plan.

Fleming, Bill, Emlen Hall. 1996. Analysis of Potential Water Conservation Incentives for

New Mexico. Report prepared for the New Mexico State Engineer Office. Santa

Fe, New Mexico.

A Water Conservation Guide for Public Utilities. 2001. New Mexico Office of the State

Engineer.

# Text boxes

DROUGHT

Long Term Strategies

Short Term Strategies

Emergency Water Supplies

Reduction of Water Use and/or Losses

Water Conservation Measures

Additions to Production and/or Storage Capacity

Optimal Combination to Maximize Benefits / Minimize Costs

?