## Sheet1
Asset Inventory and Replacement Cost
Asset | Life Span* (average from different sources) | Installation Date | Projected Replacement Date | Years to Replacement | Original Cost | Inflation Factor | Replacement Cost** | Yearly Expense to Reserve***
Source, Well | 25 years | 1998 | 2023 | 5 | 200000 | 2% | 350000 | 70000
Source, Surface Water Intake Structure | 35 years
Pumping Equipment | 10 years
Disinfectant Equipment | 5 years
Hydro pneumatic Tank | 10 years
Storage Tank Concrete/Metal | 30 years
Transmission Pipe | 30 years
Valves, Mechanical | 15 years
Valves | 35 years
Computer Equipment | 5 years
Sensors | 7 years
Distribution Pipe | 35 years
Hydrants | 40 years
Tools and Shop Equipment | 15 years
Lab/Monitoring Equipment | 5 years
Truck | 10 years
Chlorination Equipment | 10 years
Motor Controls/Variable Frequency Drive | 10 years
Transformers/Switchgears/Wiring | 20 years
Buildings | 30 years
Other
Total Yearly System Replacement Expense | [7 empty] | 70000
*Life Span assumes routine maintenance and no adverse climate impacts.
**Replacement cost today multiplied by an inflation factor per year to replacement date. Please review Pages 64-67, Estimating Future Costs for Alaska Public Infrastructure At Risk from Climate Change, Institute of Social and Economic Research, UAA, 2007 for information on climate impacts on drinking water infrastructure replacement cost.
**Replacement cost/number of years to replacement